## 201 GHG Reporting
2017 Energy Consumption and Greenhouse Gas Emissions Reporting
Confirm consecutive 12-mth period (mth-yr to mth-yr) | Jan/2017 - Dec/2017
Sector | Municipality
Agency Sub-sector | Municipal
Organization Name | Niagara Region
Operation Name | Operation Type | Address | City | Postal Code | Total Floor Area | Unit | Avg hrs/wk | Annual Flow (ML) | Electricity Quantity | Electricity Unit | Natural Gas Quantity | Natural Gas Unit | Fuel Oil 1 & 2 Unit | Fuel Oil 4 & 6 Unit | Propane Unit | Coal Unit | Wood Unit | District Heating Quantity | District Heating Unit | Renewable? | If Yes, enter Emission Factor | District Cooling Quantity | District Cooling Unit | Renewable? | If Yes, enter Emission Factor
Stephenson Building | Administrative offices and related facilities, including municipal council chambers | 2160 Yonge Street | Toronto | M7A 2G5 | 135034 | Square feet | 70 | 23516.0022 | 2181065 | kWh | 125300 | Cubic meter | Litre | Litre | Litre | Metric Tonne | Metric Tonne | 26.73 | Giga Joule | No | 0 | 20.506 | Giga Joule | No | 0
Operation Name | Operation Type | Address | City | Postal Code | Total Floor Area | Unit | Avg hrs/wk | Annual Flow (ML) | Electricity Quantity | Electricity Unit | Natural Gas Quantity | Natural Gas Unit | GHG Emissions (Kg) | Energy Intensity (ekWh/sqft) | Energy Intensity (ekWh/Mega Litre) | Comments
Anger Ave. Wastewater | Facilities related to the treatment of sewage | 1 Anger Avenue | Fort Erie | L2A 5M4 | 0 | Square feet | 168 | 5599.849 | 3636605.6 | kWh | 104753 | Cubic Meter | 260954.8538 | 0 | 848.2188 | 7 SPS included
Baker Rd. Wastewater | Facilities related to the treatment of sewage | 160 Lake Street | Grimsby | L3M 4M9 | 0 | Square feet | 168 | 7633.338 | 5548707.6 | kWh | 111366 | Cubic Meter | 306533.1105 | 0 | 881.9576 | 15 SPS included
Branscombe Early Learning and Family Centre | Other | 6271 Glengate Street | Niagara Falls | L2E 5S4 | 11180 | Square feet | 60 | 0 | 82555 | kWh | 9912 | Cubic Meter | 20167.9312 | 16.8066 | 0
Crystal Beach Wastewater | Facilities related to the treatment of sewage | 500 Ridgeway Road | Fort Erie | L3C7J3 | 0 | Square feet | 168 | 2136.76 | 1257380.1 | kWh | 91864 | Cubic Meter | 195430.7197 | 0 | 1045.3632 | 3 SPS included
DeCew Falls Water | Facilities related to the treatment of water | 2700 DeCew Road | St Catharines | L0S 1E6 | 0 | Square feet | 168 | 19837.373 | 5866658.03 | kWh | 86168 | Cubic Meter | 264392.9979 | 0 | 341.9017 | 13 PS included
Environmental Centre | Administrative offices and related facilities, including municipal council chambers | 3501 Schmon Parkway | Thorold | L2V 4Y6 | 18996 | Square feet | 45 | 0 | 354830.339 | kWh | 56004 | Cubic Meter | 112020.5297 | 50.012 | 0 | Dept. # 24102. Meter reading set at 0 for all bills in 2017.
Fort Erie EMS & NRPS #5 District | Ambulance stations and associated offices and facilities | 650 Gilmore Road | Fort Erie | L2A 5M4 | 14000 | Square feet | 168 | 0 | 270500.281 | kWh | 17120 | Cubic Meter | 37046.6481 | 32.3177 | 0 | Police station and ambulance base at 650 Gilmore (total sq ft is reported)
Fort Erie Public Health (new) | Administrative offices and related facilities, including municipal council chambers | 1264 Garrison Road | Fort Erie | L2A 1P1 | 3549 | Square feet | 45 | 0 | 26023.83 | kWh | 5946 | Cubic Meter | 11691.8284 | 25.1385 | 0
Fort Erie Public Health (old) | Other | 43 Hagey Avenue | Fort Erie | L1A 1W4 | 4752 | Square feet | 45 | 0 | 48182.152 | kWh | 5918 | Cubic Meter | 12022.1855 | 23.3749 | 0
Fort Erie Regional Child Care Centre | Other | 94 Catherine Street | Fort Erie | L2A 5W6 | 4090 | Square feet | 45 | 0 | 53107.239 | kWh | 9974 | Cubic Meter | 19775.7627 | 38.9019 | 0 | Reporting on only office space
Grimsby Ambulance Base | Ambulance stations and associated offices and facilities | 10 Iroquois Trail (A) | Grimsby | L3M 1R2 | 3358 | Square feet | 168 | 0 | 24570 | kWh | 3936 | Cubic Meter | 7866.5197 | 19.774 | 0 | Electricity is only for the ambulance base and came from the meter reading; the pumping station's energy is included in Grimsby Water
Grimsby Water | Facilities related to the treatment of water | 300 North Service Road | Grimsby | L3M 4E8 | 0 | Square feet | 168 | 5101.366 | 4128317.3 | kWh | 108499 | Cubic Meter | 276542.7715 | 0 | 1035.2953 | 4 PS included
LTC Deer Park Villa | Long-term care | 150 Central Avenue | Grimsby | L3M 4Z3 | 56941 | Square feet | 168 | 0 | 859274.585 | kWh | 114114 | Cubic Meter | 230610.7412 | 36.3895 | 0
LTC Gilmore Lodge | Long-term care | 50 Gilmore Road | Fort Erie | L2A 3M1 | 48824 | Square feet | 168 | 0 | 764139.098 | kWh | 118017 | Cubic Meter | 236344.2048 | 41.3403 | 0
LTC Linhaven | Long-term care | 403 Ontario Street | St. Catharines | L2N 4M8 | 143936 | Square feet | 168 | 0 | 2582902.76 | kWh | 289210 | Cubic Meter | 591467.2866 | 39.2991 | 0
LTC Northland Pointe | Long-term care | 2 Fielden Avenue | Port Colborne | L3K 2N7 | 98361 | Square feet | 168 | 0 | 1993568.43 | kWh | 288811 | Cubic Meter | 580518.6212 | 51.4735 | 0
LTC Rapelje Lodge | Long-term care | 277 Plymouth Road | Welland | L3B 6E3 | 78695 | Square feet | 168 | 0 | 1443053.51 | kWh | 220136 | Cubic Meter | 441157.0049 | 48.0667 | 0
LTC The Meadows of Dorchester | Long-term care | 6623 Kalar Road | Niagara Falls | L2H 2T3 | 78016 | Square feet | 168 | 0 | 1315912.49 | kWh | 164090 | Cubic Meter | 332995.6387 | 39.2205 | 0
LTC Upper Canada Lodge | Long-term care | 272 Wellington Street | Niagara-on-the-Lake | L0S 1J0 | 46796 | Square feet | 168 | 0 | 581495.59 | kWh | 137643 | Cubic Meter | 270290.2829 | 43.6861 | 0
LTC Woodlands of Sunset | Long-term care | 920 South Pelham Road | Welland | L3C 1Y5 | 75670 | Square feet | 168 | 0 | 1500992.159 | kWh | 233978 | Cubic Meter | 468329.2866 | 52.698 | 0
Niagara Falls Community Services Employment Office | Administrative offices and related facilities, including municipal council chambers | 5853 Peer Street | Niagara Falls | L2G 1X3 | 21710 | Square feet | 45 | 0 | 116694.14 | kWh | 15899 | Cubic Meter | 32077.6539 | 13.1582 | 0
Niagara Falls North Street Ambulance Base | Ambulance stations and associated offices and facilities | 5685 North Street | Niagara Falls | L2G 1J4 | 5990 | Square feet | 168 | 0 | 76895.22 | kWh | 3423 | Cubic Meter | 7801.7497 | 18.9105 | 0
Niagara Falls Public Health | Administrative offices and related facilities, including municipal council chambers | 5710 Kitchener Street | Niagara Falls | L2G 5Y1 | 7890 | Square feet | 45 | 0 | 127288.97 | kWh | 10760 | Cubic Meter | 22544.9911 | 30.6266 | 0
Niagara Falls St Paul Avenue Ambulance Base | Ambulance stations and associated offices and facilities | 2722 St Paul Avenue | Niagara Falls | L2J 4K9 | 975 | Square feet | 168 | 0 | 13105.35 | kWh | 5054 | Cubic Meter | 9781.9252 | 68.5314 | 0
Niagara Falls Wastewater | Facilities related to the treatment of sewage | 3450 Stanley Ave | Niagara Falls | L2E 6S4 | 0 | Square feet | 168 | 16060.537 | 8174250.4 | kWh | 374812 | Cubic Meter | 850027.8705 | 0 | 756.9902 | 21 SPS included, but no hydro from 4 of those locations
Niagara Falls Water | Facilities related to the treatment of water | 3599 Macklem Ave | Niagara Falls | L2G 6C8 | 0 | Square feet | 168 | 16506.668 | 7150377.1 | kWh | 249705 | Cubic Meter | 595786.2381 | 0 | 593.9531 | 5 PS included
Niagara On The Lake Wastewater | Facilities related to the treatment of sewage | 1738 Lakeshore Road | Niagara On The Lake | L0S 1J0 | 0 | Square feet | 168 | 1944.917 | 2115868.9 | kWh | 26 | Cubic Meter | 36649.4565 | 0 | 1088.0388 | 7 SPS included
NOTL Ambulance Base | Ambulance stations and associated offices and facilities | 176 Wellington Street | Niagara on the Lake | L0S 1J0 | 2190 | Square feet | 168 | 0 | 8907.33 | kWh | 4234 | Cubic Meter | 8158.9937 | 24.6143 | 0
NOTL EMS Fleet Centre | Storage facilities where equipment or vehicles are maintained, repaired or stored | 2 Westwood Court | Niagara on the Lake | L0S 1J0 | 14892 | Square feet | 112 | 0 | 87303.16 | kWh | 17755 | Cubic Meter | 35078.2524 | 18.5334 | 0
NRPS Grimsby #8 District | Police stations and associated offices and facilities | 45 Clarke Street | Grimsby | L3M 3H3 | 8180 | Square feet | 168 | 0 | 149677.522 | kWh | 14091 | Cubic Meter | 29229.9468 | 36.6056 | 0
NRPS HQ #2 District (new) | Police stations and associated offices and facilities | 5700 Valley Way | Niagara Falls | L2E 1X9 | 207000 | Square feet | 168 | 0 | 3305733.85 | kWh | 182781 | Cubic Meter | 402753.2778 | 25.3541 | 0 | New building
NRPS Police Fleet | Police stations and associated offices and facilities | 3551 Thorold Townline Road | Thorold | L0S 1A0 | 19050 | Square feet | 45 | 0 | 122880 | kWh | 21603 | Cubic Meter | 42968.7933 | 18.5025 | 0
NRPS Police St. Catharines | Police stations and associated offices and facilities | 2 Cushman Road | St Catharines | L2M 6S2 | 18352 | Square feet | 168 | 0 | 178229.62 | kWh | 17917 | Cubic Meter | 36957.3799 | 20.0876 | 0
NRPS Port Colborne #6 District | Police stations and associated offices and facilities | 501 Fielden Avenue | Port Colborne | L3K 3L1 | 5260 | Square feet | 168 | 0 | 95675.688 | kWh | 3867 | Cubic Meter | 8966.0527 | 26.0025 | 0
NRPS St. Catharines #1 District | Police stations and associated offices and facilities | 68 Church Street | St Catharines | L2R 3C6 | 75280 | Square feet | 168 | 0 | 1401466.91 | kWh | 109045 | Cubic Meter | 230405.9958 | 34.0113 | 0
NRPS Welland #3 District | Police stations and associated offices and facilities | 5 Lincoln Street | Welland | L3C 5H9 | 25995 | Square feet | 168 | 0 | 432353.67 | kWh | 44012 | Cubic Meter | 90689.1293 | 34.626 | 0
NRPS Welland Gun Range (Training Centre) | Police stations and associated offices and facilities | 107 Seneca Trail | Welland | L3C 7L3 | 21480 | Square feet | 45 | 0 | 180720 | kWh | 14631.53 | Cubic Meter | 30788.8602 | 15.6527 | 0
Pelham Ambulance Base | Ambulance stations and associated offices and facilities | 183 Highway 20 West | Pelham | L0S 1E5 | 3357 | Square feet | 168 | 0 | 24982.167 | kWh | 3676 | Cubic Meter | 7382.0864 | 19.0795 | 0
Pelham Patrol Yard | Storage facilities where equipment or vehicles are maintained, repaired or stored | 1495 Victoria Ave | Pelham | L0S 1C0 | 4140 | Square feet | 112 | 0 | 25889.111 | kWh | 10443 | Cubic Meter | 20191.6476 | 33.0616 | 0
Port Colborne Ambulance Base | Ambulance stations and associated offices and facilities | 42 Dolphin Street | Port Colborne | L3K 2J4 | 7065 | Square feet | 168 | 0 | 39574.46 | kWh | 11020 | Cubic Meter | 21519.2685 | 22.1787 | 0
Port Colborne Water | Facilities related to the treatment of water | 323 King Street | Port Colborne | L3K 4H2 | 0 | Square feet | 168 | 3182.37 | 1435527.2 | kWh | 61748 | Cubic Meter | 141574.1855 | 0 | 657.2998 | 3 PS included
Port Dalhousie Wastewater | Facilities related to the treatment of sewage | 40 Lighthouse Road | St Catharines | L2N 4G7 | 0 | Square feet | 168 | 12795.556 | 5258375.6 | kWh | 61542 | Cubic Meter | 207312.348 | 0 | 462.069 | 14 SPS included
Port Weller Wastewater | Facilities related to the treatment of sewage | 27 Lombardy Ave | St Catharines | L2M 1A1 | 0 | Square feet | 168 | 11654.469 | 4926041.7 | kWh | 47403 | Cubic Meter | 174832.061 | 0 | 465.9011 | 6 SPS, but info for 1 missing
Queen Street Courthouse | Police stations and associated offices and facilities | 4635 Queen Street | Niagara Falls | L2E 2L7 | 7024 | Square feet | 45 | 0 | 61254.15 | kWh | 14027 | Cubic Meter | 27579.3992 | 29.9445 | 0
Queenston Operations Wastewater | Facilities related to the treatment of sewage | 5 River Frontage Road | Niagara on the Lake | L0S 1J0 | 0 | Square feet | 168 | 105.191 | 214637.7 | kWh |  |  | 3712.8029 | 0 | 2040.4569 | 0 SPS. No gas.
Regional HQ - Campbell E&W | Administrative offices and related facilities, including municipal council chambers | 1815 Sir Isaac Brock Way | Thorold | L2V 4T7 | 197710 | Square feet | 45 | 0 | 2213574.495 | kWh | 126143 | Cubic Meter | 276779.7733 | 17.9768 | 0
Ridgeway Ambulance Base | Ambulance stations and associated offices and facilities | 369 Gorham Road | Fort Erie | L0S 1N0 | 3360 | Square feet | 168 | 0 | 21987.098 | kWh | 5021 | Cubic Meter | 9873.171 | 22.4253 | 0
Rose Hill Water | Facilities related to the treatment of water | 300 Rose Hill Road | Fort Erie | L2A 5M4 | 0 | Square feet | 168 | 4512.936 | 2312648.6 | kWh | 93951 | Cubic Meter | 217630.4928 | 0 | 733.6995 | 4 PS included
S/D Lagoon | Facilities related to the treatment of sewage | 3274 Netherby Road | Niagara Falls | L0S 1S0 | 0 | Square feet | 168 | 591.872 | 428365.4 | kWh |  |  | 7409.8647 | 0 | 723.7467 | 2 SPS included. No gas.
Seaway Wastewater | Facilities related to the treatment of sewage | 30 Prosperity Avenue | Port Colborne | L3K 5X9 | 0 | Square feet | 168 | 4399.83 | 2717666.2 | kWh | 345568 | Cubic Meter | 700350.3811 | 0 | 1452.3938 | 17 SPS included
Smithville Ambulance Base | Ambulance stations and associated offices and facilities | 110 West Street | West Lincoln | L0R 2A0 | 3474 | Square feet | 168 | 0 | 17122.9 | kWh | 5740 | Cubic Meter | 11148.3909 | 22.4889 | 0
Smithville Patrol Yard | Storage facilities where equipment or vehicles are maintained, repaired or stored | 3112 Thirty Road | West Lincoln | L0R 2A0 | 10200 | Square feet | 112 | 0 | 92062.63 | kWh | 23668 | Cubic Meter | 46339.8592 | 33.6864 | 0
St Catharines Community Services Employment Office | Administrative offices and related facilities, including municipal council chambers | 234 Bunting Road | St Catharines | L2M 5V5 | 29504 | Square feet | 45 | 0 | 228919.23 | kWh | 21532 | Cubic Meter | 44668.8254 | 15.5151 | 0
St Catharines Linwell Road Ambulance Base | Ambulance stations and associated offices and facilities | 337 Linwell Road | St Cathariness | L2N 1T7 | 2100 | Square feet | 168 | 0 | 24194.27 | kWh | 2547 | Cubic Meter | 5233.9395 | 24.4111 | 0
St Catharines Ontario Street Ambulance Base | Ambulance stations and associated offices and facilities | 139 Ontario Street | St Catharines | L2R 5J9 | 9408 | Square feet | 168 | 0 | 77799.31 | kWh | 8645 | Cubic Meter | 17690.2429 | 18.0353 | 0
St Catharines Public Health | Administrative offices and related facilities, including municipal council chambers | 277 Welland Ave | St Catharines | L2R 2P7 | 5704 | Square feet | 45 | 0 | 48625.84 | kWh | 13614 | Cubic Meter | 26580.1258 | 33.8907 | 0 | 2 hydro meters and 3 natural gas meters
St. Catharines Regional Child Care Centre | Other | 179 Carlton Street | St. Catharines | L2R 1S1 | 7030 | Square feet | 45 | 0 | 66593.74 | kWh | 10883 | Cubic Meter | 21727.6322 | 25.9254 | 0
Thorold EMS Station at HQ | Ambulance stations and associated offices and facilities | 3450 Merrittville Highway | Thorold | L2V 4Y6 | 3470 | Square feet | 168 | 0 | 841.863 | kWh | 9814 | Cubic Meter | 18569.1759 | 30.3005 | 0 | Hydro meter was investigated for being usually low
Thorold Patrol Yard and Public Works Service Centre | Storage facilities where equipment or vehicles are maintained, repaired or stored | 3547 & 3557 Thorold Townline Road | Thorold | L2V 3Y5 | 51670 | Square feet | 112 | 0 | 409374 | kWh | 64941 | Cubic Meter | 129860.5595 | 21.2803 | 0 | Combined 3547 and 3557 Thorold Townline Road
W/WW Central Maintenance | Storage facilities where equipment or vehicles are maintained, repaired or stored | 980 Major Street | Welland | L3B 3Z3 | 25391 | Square feet | 45 | 0 | 228604.18 | kWh | 39972 | Cubic Meter | 79526.5375 | 25.7342 | 0 | Dollar amount was divided by two, while the consumption values were not
Welland Ambulance Base | Ambulance stations and associated offices and facilities | 580 King Street | Welland | L3B 3L3 | 6792 | Square feet | 168 | 0 | 50614.23 | kWh | 14134 | Cubic Meter | 27597.647 | 29.5682 | 0
Welland Community Services | Administrative offices and related facilities, including municipal council chambers | 250 Thorold Road | Welland | L3C 3W1 | 25870 | Square feet | 45 | 0 | 291865.04 | kWh | 34892 | Cubic Meter | 71016.4387 | 25.6161 | 0
Welland EMS base | Ambulance stations and associated offices and facilities | 655 Niagara Street | Welland | L3C 1E2 | 1750 | Square feet | 168 | 0 | 7502.35 | kWh | 4139 | Cubic Meter | 7955.0808 | 29.4233 | 0 | Open Oct 2017
Welland Patrol Yard | Storage facilities where equipment or vehicles are maintained, repaired or stored | 745 Doan's Ridge Rd. | Welland | L3B 5N7 | 6140 | Square feet | 112 | 0 | 296028.13 | kWh | 27664 | Cubic Meter | 57422.9999 | 96.0969 | 0
Welland POCF | Police stations and associated offices and facilities | 445 East Main St. | Welland | L3B 3X7 | 20397 | Square feet | 45 | 0 | 37099.62 | kWh | 4875 | Cubic Meter | 9858.5559 | 4.359 | 0 | Open Oct 2017
Welland Public Health | Administrative offices and related facilities, including municipal council chambers | 200 Division Street | Welland | L3B 3B1 | 18030 | Square feet | 45 | 0 | 158993.21 | kWh | 15157 | Cubic Meter | 31406.498 | 17.7525 | 0
Welland Regional Child Care Centre | Other | 25 Bruce Street | Welland | L3B 3P9 | 4410 | Square feet | 45 | 0 | 54670.38 | kWh | 9504 | Cubic Meter | 18914.2072 | 35.3009 | 0
Welland Wastewater | Facilities related to the treatment of sewage | 505 River Road | Welland | L3B 5N4 | 0 | Square feet | 168 | 12895.253 | 5186825.5 | kWh | 53289 | Cubic Meter | 190471.3297 | 0 | 446.1463 | 14 SPS included, but no hydro from 2 of those locations
Welland Water | Facilities related to the treatment of water | 4 Cross Street | Welland | L3B 3W4 | 0 | Square feet | 168 | 7845.107 | 3220919.5 | kWh | 104003 | Cubic Meter | 252346.3454 | 0 | 551.4571 | 3 PS included